64

General School - No.31 Mould (List additional hazards, risks and controls particular to your school using the blank template no.55)

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazards | Is the hazard present? Y/N | What is the risk? | Risk ratingH = HighM = Medium L = Low | Controls(When all controls are in place risk will be reduced) | Is this control in place? | Action/to do list/outstanding controls\*Risk rating applies to outstanding controls outlined in this column | Person responsible | Signature and date when action completed |
| Mould |  | Lung irritation, sensitisation, adverse health affects | M | Procedure for identification and assessment of mould growth in place |  |  |  |  |
|  |  | M | All relevant staff are aware of this procedure |
|  |  | M | Regular formal inspections, e.g. bi- annual, undertaken to identify moulds or potential causes of mould, e.g. leaks? |
|  |  | M | Preventative maintenance procedures in place, e.g: |
|  |  |  | * Check for leaking pipes
* Check for condensation build up
* Ensure humidity is less than 60%. Humidity can be reduced byrepairing leaks or increasing ventilation
* Ensure dryers vent externally
* Check extraction ventilation is working correctly, e.g. in kitchens
* Damp proof courses checked
* Check gutters are cleared and in good condition
 |

© All Rights Reserved

General School - No.31 Mould cont’d. (List additional hazards, risks and controls particular to your school using the blank template no.55)

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hazards | Is the hazard present? Y/N | What is the risk? | Risk ratingH = HighM = Medium L = Low | Controls(When all controls are in place risk will be reduced) | Is this control in place? | Action/to do list/outstanding controls\*Risk rating applies to outstanding controls outlined in this column | Person responsible | Signature and date when action completed |
| Mould |  | Lung irritation, sensitisation, adverse health affects | M | Generate a log book for regular examination and maintenance of plumbing system(s); gutters and ventilation systems. Subsequent action would involve auditing of logbooks that maintenance/ checks were occurring |  |  |  |  |
|  |  | M | Remediation plan/procedure in place to deal with identified mould problem, e.g. |
|  |  |  | * Source of moisture been identified and removed prior to remediation
* Appropriate PPE and RPE available for persons carrying out cleaning and remediation work
* Staff carrying out cleaning are trained andawareofrelevantprecautions/ controls required for mould growth greater than 3m2
* Professional expertise sought if the area covered by mould is greater than 3m2
 |
|  |  | M | System in place to deal with incidents of water damage, e.g. flooding, to prevent mould growth |
|  |  | M | Records are kept of all remediation work/ monitoring carried out |
|  |  |  |  |  |  |  |  |  |

If there is one or more High Risk (H) actions needed, then the risk of injury could be high and immediate action should be taken. Medium Risk (M) actions should be dealt with as soon as possible. Low Risk (L) actions should be dealt with as soon as practicable.

65

Reference guide; State Claims Agency; Guidelines for Cleaning Staff on Managing Mould Growth in State Buildings. [www.stateclaims.ie](http://www.stateclaims.ie/) State Claims Agency; Guidelines for Maintenance Staff on Managing Mould Growth in State Buildings. [www.stateclaims.ie](http://www.stateclaims.ie/) Department of Education and Science Circular 008/2006 Health and Safety Matters – Management of Mould

Risk Assessment carried out by: Date: / /

© All Rights Reserved